## IPC Type and Images
IPC Type | ProAlpha Nr. | Infor Nr. | Article No. with software | (IPC Details) | IPC type internal name | Image versions | File | TwinCAT Version
C6920-000/elt01 | 1800016000 |  |  | CPU: Single Core 1,8GHz CF-card: 1 GB OS: Win XP embedded | C6920-0000-elt01_1GCF | 1.0.0 | cf_regi_star20.img | V2.10
C6920-1010-0000 | 1800016100 | 1ELPC324190 |  | CPU: Single Core 1,8GHz CF-card: 2 GB OS: Win XP embedded TwinCAT: V2.10 Upgrade with 4GB CF-Card possible (Chinese language) | C6920-0000-elt01_2GCF | 1.0.0 1.0.1 1.0.2 1.1.0 1.1.1 1.1.2 1.2 2.1.0 | Backup 3.3.2009 3_03_55 PM.tib Backup 3.26.2009 1_26_02 PM.tib Backup 6.18.2009 3_46_53 PM.tib Backup 10.21.2009 1_19_29 PM.tib Backup 1.30.2010 12_23_11 AM.tib Backup 2.15.2010 11_53_54 AM.tib Register-beckhoff-C6920-1029-2_0_1.tib Register-beckhoff-C6920-1029-2_1.tib | V2.10 V2.10 V2.10 V2.10 V2.10 V2.10 V2.10 V2.11
[5 empty] | beckhoff C6920-1029 regi_star 20 | see C6920-0000-elt01_2GCF
[5 empty] | C6920-0000-elt01_4GCF | 2.1.1 | Register-beckhoff-C6920-1029-2_1_1.tib | V2.11
C6920-0010/elt04 | 1800016140 | 1ELPC324193 |  | CPU: Pentium Dual Core 2,1GHz CF-card: 2GB OS: Win XP embedded | C6920-0010-elt04 regi_star 1 Core |  | Backup 8.26.2009 11_59_51 AM.tib | V2.10
[5 empty] | beckhoff C6920-0010 regi_star20 2 Cores |  | Register-beckhoff-C6920-0010-1_1.tib | V2.11
C6920-0030/elt07 | 1800016120 |  |  | CPU: Celeron Dual Core 1,9GHz C-Fast: 4GB OS: Win XP embedded | beckhoff C6920-0030 regi_star20 1 Core | 1.0 1.0.4 | Register-beckhoff-C6920-0030-1_0_2.tib Register-beckhoff-C6920-0030-1_0_4.tib | V2.11 V2.11
[5 empty] | beckhoff C6920-0030 regi_star20 2 Cores | Celeron 2 Core 1.1.0 | Register-beckhoff-C6920-0030-Celeron-1_1.tib | V2.11
C6920-0030/elt09 | 1800016150 | 1ELPC324194 |  | CPU: Pentium Dual Core 2,53GHz C-Fast: 4GB OS: Win XP embedded | beckhoff C6920-0030 regi_star20 1 Core | 1.0 1.0.4 | Register-beckhoff-C6920-0030-1_0_2.tib Register-beckhoff-C6920-0030-1_0_4.tib | V2.11 V2.11
[5 empty] | beckhoff C6920-0030 regi_star20 2 Cores | Pentium 2 Core 1.1.0 | Register-beckhoff-C6920-0030-Pentium-1_1.tib | V2.11
C6920-0050/BSTe03 | 1800016320 | 1ELPC324198 | 3EBPC242068 | CPU: Celeron 2000E 2,2GHz C-Fast: 16GB OS: Win 7 embedded | beckhoff C6920-0050 regi_star20 2 Cores | 1.0.0 1.1.3 1.1.4 2.0.6 2.0.7 2.0.8 | Register-beckhoff-C6920-0050-1_0.tib Register-beckhoff-C6920-0050-1_1_3.tib Register-beckhoff-C6920-0050-1_1_4.tib Register-Beckhoff-C6920-0050-2_0_06.tib Register-Beckhoff-C6920-0050-2_0_07.tib Register-Beckhoff-C6920-0050-2_0_08.tib | V2.11 V2.11 V2.11 V2.11 V2.11 V2.11
C6920-0060/BSTe05 | 1800016340 | 1ELPC257343 |  | Celeron 3900TE 2Core | C6920-0060/BSTE05 | 1.0.0 | C6920-0060_registar20_V1.0.0.tib | V3.1 (license on terminal)
|  |  |  | CF: no |  | 1.0.1 | C6920-0060_registar20_V1.0.1.tib | V3.1 (license on terminal)
|  |  |  | 240GB SSD |  | 1.1.0 | C6920-0060_registar20_V1.1.0.tib | V3.1 (license on terminal)
OS: Win 10 64bit
Note on F3: jbruelheide: Es dürften eigentlich nur noch sehr wenige Systeme mit 1GB im Feld sein.
Note on A9: Only two IPC's of this type was used in the field: * MM Graphia Bielefeld * E.Gundlach Oerlinghausen Both IPC already exchanged with C6920-0030 Pentium Core 2 Duo

## Compatibility HMI to IPC
IPC Type and Image Version
| C6920-0000 C6920-1010 C6920-1029 Pentium-M Single Core | [8 empty] | C6920-0030 Celeron Dual Core |  |  | C6920-0030 Pentium Core 2 Duo |  |  | C6920-0050/BSTE03.0 Celeron 2000E | [5 empty] | C6920-0060/BSTE05 Celeron 3900TE 2Cores 240GB SSD
HMI Version | 1.0.0 | 1.0.1 | 1.0.2 | 1.1.0 | 1.1.1 | 1.1.2 | 1.2.0 | 2.1.0 | 2.1.1 | 1.0.0 | 1.0.4 | 1.1.0 | 1.0.0 | 1.0.4 | 1.1.0 | 1.0.0 | 1.1.3 | 1.1.4 | 2.0.6 | 2.0.7 | 2.0.8 | 1.0.0 | 1.0.1 | 1.1.0
1.2.10
1.3.2
1.3.3 | [25 empty] | HMI Version is working direct with the image. No changes necessary.
1.4.0
1.5.0
1.5.1
1.5.2
1.5.4 | [25 empty] | HMI is made for TwinCAT V.2.10 and single Core usage designed. ToDo: 1.) In the directory …\register_hmi\config modify the file twincat.properties Change ethercat_device_subtype = from 94 to 111
1.5.5
1.6.0
1.6.1
1.6.2
1.6.3
1.6.4
1.7.0 | [25 empty] | HMI is made for TwinCAT V.2.10 and single Core usage designed. ToDo: 1.) In the directory …\register_hmi\config modify the file twincat.properties Change ethercat_device_subtype = from 94 to 111 2.) Change the boot path in TwinCAT Properties to c:\TwinCAT\Boot copy boot project TCPLC_P_1.wbp from c:\Program files\eltromat\HMI\register_hmi\Twincat\Boot into this boot folder. 3.) Check Boot settings
1.7.1
1.7.2
1.8.0
1.8.1
1.8.2
1.8.3
1.9.0
1.10.0 | [25 empty] | HMI is made for TwinCAT V.2.10 and single Core usage designed. ToDo: 1.) In the directory …\register_hmi\config modify the file twincat.properties Change ethercat_device_subtype = from 94 to 111 2.) Change the boot path in TwinCAT Properties to c:\TwinCAT\Boot copy boot project TCPLC_P_1.wbp from c:\Program files\eltromat\HMI\register_hmi\Twincat\Boot into this boot folder. 3.) Modify Boot.ini to force IPC to single core usage: Boot.ini --> /OneCPU for win XP embedded or change in msconfig for win 7 embedded 4.) Check Boot settings
1.10.1
1.10.2
1.11.0
1.11.1
1.11.2
1.11.3
2.0.6
2.1.5
2.1.9 | [25 empty] | HMI is made for TwinCAT V.2.11 and single Core usage designed. ToDo: 1.) Change the boot path in TwinCAT Properties to c:\TwinCAT\Boot copy boot project TCPLC_P_1.wbp from c:\Program files\eltromat\HMI\register_hmi\Twincat\Boot into this boot folder. 2.) Modify Boot.ini to force IPC to single core usage: Boot.ini --> /OneCPU for win XP embedded or change in msconfig for win 7 OS 3.) Check Boot settings
2.1.11
2.1.14
2.3.3
2.3.4
2.4.0
2.7.0
2.7.2 | [25 empty] | HMI is made for TwinCAT V.2.11 and single Core usage designed. ToDo: 1.)Change the boot path in TwinCAT Properties to c:\TwinCAT\Boot copy boot project TCPLC_P_1.wbp from c:\Program files\eltromat\HMI\register_hmi\Twincat\Boot into this boot folder. 2.) Check Boot settings
2.11.0
2.11.1
2.12.0
2.12.1
2.12.2
2.12.3
2.13.0 | [25 empty] | HMI is made for TwinCAT V.2.11 and dual Core usage designed. ToDo: 1.) Change the boot path in TwinCAT Properties to c:\Program files\eltromat\HMI\register_hmi\Twincat\Boot copy boot project TCPLC_P_1.wbp from c:\Twincat\Boot into this boot folder. 2.) Check Boot settings
3.0.0
3.0.1
3.0.3
3.1.2
3.1.6
3.1.7
3.1.8 | [25 empty] | HMI is made for TwinCAT V.2.10 and single Core usage designed. This combination is not recommendable! Modifications only manual possible. An Configure will change all settings back. No hardware extensions possible. In TSM File (System Manager) must the EtherCAT Port changed. additional ToDo: 1.) Change the boot path in TwinCAT Properties to c:\TwinCAT\Boot copy boot project TCPLC_P_1.wbp from c:\Program files\eltromat\HMI\register_hmi\Twincat\Boot into this boot folder. 2.) Modify WIN_XP Boot.ini to force IPC to single core usage: Boot.ini --> /OneCPU 3.) Check Boot settings
3.1.9
3.1.10
3.1.11
3.1.12
3.1.13
3.1.14
3.1.15
3.1.16
3.1.17
3.1.18
3.1.19
3.1.20 | [25 empty] | This combination will not work!
3.1.21
3.1.22
3.1.23
3.1.24
3.1.25
3.1.26
3.1.27
3.1.28
3.2.0
3.3.0
3.3.1 | [21 empty] | It does not work
3.4.0
3.5.0
3.5.1
3.5.2
3.5.3
3.6.0
3.6.2 Prem
3.6.4 | [24 empty] | 1) | Note: regi_commander ist not supported in this combination !!
3.6.5 | [24 empty] | 2) | Note: Win-XP does not support "SnippingTool" and not "Network configuration" via HMI
3.7.0
3.8.0
3.9.0 | [6 empty] | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1) | 1) | 1)
3.9.1 | [6 empty] | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1) | 1) | 1)
3.9.2 | [6 empty] | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1), 2) | 1) | 1) | 1)
4.0.2
4.1.0 | [6 empty] | TwinCAT 3 is not supported
4.1.1
4.1.2
not recommendable!
It does not work Choose the most suitable image
Note on B2: CPU: Pentium -M single Core 1,8GHz (1-core) CF-card: 2GB (upgrade with 4GB image 2.1.1) OS: XP 32-Bit TC: TwinCAT V2.10 and V2.11 depend on image version
Note on K2: CPU: Celeron Dual Core 1,9GHz (2-core) Cfast: 4GB OS: XP 32-Bit TC: TwinCAT V2.11
Note on N2: CPU: Pentium Core 2 Duo 2,53GHz (2-core) Cfast: 4GB OS: XP 32-Bit TC: TwinCAT V2.11
Note on Q2: CPU: Celeron 2000E 2,2GHz (2-core) Cfast: 16GB OS: Win-7 32-Bit TC: TwinCAT V2.11 3EBPC242068
Note on W2: Celeron 3900TE 2,3GHz 2Core CPU 240GB SSD; no C-F card anymore TwinCAT 3 license on license terminal Image V1_0_x: Win-10 64-Bit and TC3.1 B4022.30
Note on B3: Image version * TC 2.10 * one core * PLC-Boot Path in TC
Note on C3: Image version * TC 2.10 * one core * PLC-Boot Path in TC
Note on D3: Image version * TC 2.10 * one core * PLC-Boot Path in TC
Note on E3: Image version * TC 2.10 * one core * PLC-Boot Path in TC
Note on F3: Image version * TC 2.10 * one core * PLC-Boot Path in TC
Note on G3: Image version * TC 2.10 * one core * PLC-Boot Path in TC
Note on H3: Image * TC 2.11 * One core * PLC-Boot Path in TC * Patch Sys-Manager
Note on I3: Image 2GB CF * TC 2.11 * One core * PLC-Boot Path in TC * HMI from V3.x.y * without chinese language
Note on J3: Image 4GB CF * TC 2.11 * One core * PLC-Boot Path in HMI * HMI from V3.x.y * with chinese language
Note on K3: Image 4GB C-Fast * TC 2.11 * win xp * One core active * PLC-Boot Path in TC * Patch Sys-Manager
Note on L3: Image 4GB C-Fast * TC 2.11 * win xp * One core active * PLC-Boot Path in TC * Patch Sys-Manager
Note on M3: Image 4GB C-Fast * TC 2.11 * win xp * Set to one core ! * PLC-Boot Path in HMI * HMI from V3.x.y
Note on N3: Image 4GB C-Fast * TC 2.11 * win xp * one core active * PLC-Boot Path in TC * Patch Sys-Manager
Note on O3: Image 4GB C-Fast * TC 2.11 * win xp * one core active * PLC-Boot Path in TC * Patch Sys-Manager
Note on P3: Image 4GB C-Fast * TC 2.11 * win xp * both cores active * PLC-Boot Path in HMI * HMI from V3.x.y
Note on Q3: Image 16GB C-Fast * TC 2.11 * win 7 * Both cores active * PLC-Boot Path in HMI * HMI from V3.x.y Dont use! (Issue with TwinCAT)
Note on R3: Image 16GB C-Fast * TC 2.11 * win 7 * Both cores active * PLC-Boot Path in HMI * HMI from V3.x.y
Note on S3: Image 16GB C-Fast * TC 2.11 * win 7 * Both cores active * PLC-Boot Path in HMI * HMI from V3.x.y
Note on T3: Image 16GB C-Fast * TC 2.11 * win 7 * Both cores active * PLC-Boot Path in HMI * HMI from V3.x.y
Note on U3: Image 16GB C-Fast * TC 2.11 * win 7 * Both cores active * PLC-Boot Path in HMI * HMI from V3.x.y
Note on V3: Image 16GB C-Fast * TC 2.11 * win 7 * Both cores active * PLC-Boot Path in HMI * HMI from V3.x.y

## twincat.properties
Navigate to twincat.properties | Right mouse click to open Notepad++ | Change ethercat_device_subtype from 94 to 111 and save this change.

## TwinCAT boot path
Open TwinCAT properties via right click on the TwinCAT icon in the task bar | Change to PLC and click on "Browse" to change the TwinCAT boot path. | Browse to folder C:/TwinCAT/Boot and click on OK. | Click on "Apply" to confirm your change. Copy boot project TCPLC_P_1.wbp from c:\Program files\eltromat\HMI\register_hmi\Twincat\Boot into c:\Twincat\Boot folder.
Open TwinCAT properties via right click on the TwinCAT icon in the task bar | Change to PLC and click on "Browse" to change the TwinCAT boot path. | Browse to folder c:\Program files\eltromat\HMI\register_hmi\Twincat\Boot | Click on "Apply" to confirm your change. Copy boot project TCPLC_P_1.wbp from c:\Twincat\Boot into c:\Program files\eltromat\HMI\register_hmi\Twincat\Boot folder.

## Boot settings
If after some modifications TwinCAT won't start in run mode after rebooting please check the boot settings. Change and apply if necessary.

## 1core WIN_XP_BOOT.INI
Navigate to BOOT.INI in the root path | Right click to open Notepad++ | Add OneCPU and save your settings.

## 1core WIN_7_msconfig
Open msconfig | Change to Boot /Advanced options... | Set number of processors to 1 | Confirm with OK

## Compatibility Memory & OS
IPC Type |  | CFast can be transfered between IPC type
from: | to: | C6920-000/elt01 | C6920-1010-0000 | C6920-0010/elt04 | C6920-0030/elt07 | C6920-0030/elt09 | C6920-0050/BSTe03
C6920-000/elt01 |  | 1 core
C6920-1010-0000 |  |  | 1 core
C6920-0010/elt04 |  |  |  | 1 core
C6920-0030/elt07 |  |  |  |  | 1 core | 1 core
C6920-0030/elt09 | [5 empty] | 2 core
C6920-0050/BSTe03 | [6 empty] | 2 core
Note on E2: jbruelheide: Es waren nur zwei IPC diesen Typs eingesetzt worden: * MM Graphia Bielefeld * E.Gundlach Oerlinghausen Es wurden beide durch einen C6920-0030 Pentium Core 2 Duo ersetzt.
Note on A5: jbruelheide: Es waren nur zwei IPC diesen Typs eingesetzt worden: * MM Graphia Bielefeld * E.Gundlach Oerlinghausen Es wrden beide durch einen C6920-0030 Pentium Core 2 Duo ersetzt.